DESCRIPTION:  This application may be completed by the sponsor.  It is designed to give reviewers a greater understanding of the device.

Include this form, signed and

Documentation of IDE, if claimed 		Approved or proposed label

Report of Prior Investigations or Risk analysis  		Picture, drawing or diagram

MAKE A COPY FOR YOUR STUDY CORRESPONDENCE FILE.

Send completed package to submit@eandireview.com.

INSTRUCTIONS: Incomplete or blank answers, or those without the proper documentation will delay your review.  The spaces provided for your answers will adjust in size as you type in them

| - Identification |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. Study Information (Within what study is the device to be used?) |  |  |  |  |
| Study Name |  |  |  |  |
| Study Number |  |  |  |  |
| 2. Contact Information (Who can answer device questions?) |  |  |  |  |
| Name (with degrees) |  |  | Phone |  |
| Company |  |  | Cell |  |
| Mailing Address |  |  | E-mail |  |
| City, State, Zip |  |  |  |  |
| 3. Device Information |  |  |  |  |
| Name of Device |  |  |  |  |
| Mfg of Device |  |  |  |  |
| Sponsor |  |  |  |  |
| Study Name |  |  |  |  |
| Study Number |  |  |  |  |
| 4. ClinicalTrials.gov |  |  |  |  |
| Has this trial been registered? |  | Yes If yes, attach the listing. No Please explain why this is not a clinical trial requiring registration: |  |  |

| - Device Description Summary |  |  |
| --- | --- | --- |
| 1 | Device History: Is it substantially equivalent or is it totally new? Has this particular version ever been used before? |  |
| 2 | What is known about the risks of this device? Is there prior clinical information? Is there laboratory information? Has this particular version ever been used before? |  |
| 3 | Where will the device(s) be stored? How many can be at a site at once? Is there any reason to be concerned about device storage? Accountability? |  |
| 4 | Will the subject be charged for this device? | No or, if yes: |
| 5 | Classification of the device: |  |
| 6 | Has the sponsor had a pre-IDE meeting with FDA? |  |

| - Regulatory Status Information |  |
| --- | --- |
| Select one option 1 through 4. Sign in the option and attach appropriate supporting materials. Stop here: Do NOT continue to Section D. |  |
| 1. | This device – as it is used in this study – is NOT FDA REGULATED. (Huron HRP316) Stop here. Sign here. Attach a very clear explanation about why the study is not FDA regulated. The IRB may or may not agree. |
|  | PI or Sponsor Signature Date |
| 2. | The device IS FDA regulated and can be legally marketed for the proposed use. Class 1 device Classification number Cleared by 510K Number K and date Approved by PMA- Number P and date Approved as Humanitarian Stop here - Use the HUD forms Cleared by another route: How and date AND This marketed device – as used in this study - is not an investigational device because It is being used as indicated, and It is not a study of device safety or efficacy and the information need not be held for FDA inspection. As a marketed device used as indicated, it is not investigational. Stop here. Sign here. |
|  | PI or Sponsor Signature Date |
| 3. | There is another reason that the device is not investigational. Stop here. Sign here. Attach explanation. |
|  | PI or Sponsor Signature Date |
| 4. | Neither 1, nor 2, nor 3 applies. Continue to section D. |

| - Investigational Status Information |  |
| --- | --- |
| This study does include an Investigational Device Select option 1, 2, or 3. Sign in the option and attach appropriate supporting materials. |  |
| 1. | The device has an IDE # G for indication: Please assure us of one of the following: The protocol has the IDE number on it or The FDA documentation (letter) is attached. If the investigator holds the IDE, who is assuming the duties of a sponsor? |
|  | PI or Sponsor Signature Date |
| 2. | The device is exempt under exemption 21 CFR 812.2.(c ) The last page of this form is completed. Expedited review may be possible if ALL procedures fall within the expedited categories. |
|  | PI or Sponsor Signature Date |
| 3. | The device fits into another investigational category, namely: . Attach explanation. |
|  | PI or Sponsor Signature Date: |
| 4. | Neither 1, nor 2, nor 3 can be checked. An Abbreviated IDE is being sought. (Complete Section E.) Continue to E only if 1, 2, and 3 are not appropriate. |

| - Abbreviated Investigational Device Exemption (IDE) (NSR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COMPLETE ONLY IF D.4. IS CHECKED ABOVE To qualify for an Abbreviated IDE, the seven requirements of 21 CFR 812.2(b) must be met. IF you contend that the investigational device – as it is used in the context of this study – - does NOT present a potential for serious risk of harm to the health, safety or welfare of the subject, and - the IRB agrees with your assessment, and - the other requirements for an Abbreviated IDE are met, then The FDA will consider that there is an approved IDE. |  |  |  |  |  |  |  |  |
| E.1. Step 1 - Consider the definition of a Significant Risk Device (SR) |  |  |  |  |  |  |  |  |
| A “SIGNIFICANT RISK DEVICE” means an investigational device that (21 CFR 812.3(m)): |  |  |  |  |  |  |  |  |
| 1. | Yes No Is intended as an implant |  |  |  |  |  | and | presents a potential for serious risk of harm to the health, safety or welfare of the subject; or |
| 2. | Yes No Is purported or represented to be for a use in supporting or sustaining human life |  |  |  |  |  | and | presents a potential for serious risk of harm to the health, safety or welfare of the subject; or |
| 3. | Yes No Is for a use of substantial importance in diagnosing, curing, mitigating, or treating, disease, or otherwise preventing impairment of human health |  |  |  |  |  | and | presents a potential for serious risk of harm to the health, safety or welfare of the subject; or |
| 4. | Yes No It otherwise |  |  |  |  |  |  | presents a potential for serious risk of harm to the health, safety or welfare of the subject. |
| 5. | Yes No Has the FDA notified the sponsor under section 812.20(a) that an IDE is required? |  |  |  |  |  |  |  |
|  | Total Yes Total No |  |  | IF there is 1 or more Yes response, stop here. The decision must be SR. IDE information is required. IF there were 5 No responses, continue to Step 2. |  |  |  |  |
| E.2. Step 2 – Justify this NSR claim to the IRB |  |  |  |  |  |  |  |  |
| RISK ANALYSIS: Why should the IRB believe that this device – as used in the context of this particular study – does not present a potential for serious risk of harm? What are the possible risks to a study participant? Distinguish the risks associated with standard medical care from the risks associated with the risks of use of this device in this context. Your risk analysis should be attached. This decision must be made by the convened IRB. |  |  |  |  |  |  |  |  |
| 1. |  | Risks due to being a person (patient or healthy volunteer) eligible to be in this study. These are baseline risks that exist prior to enrollment. If any of these risks are altered note that increment. |  |  |  |  |  |  |
| 2. |  | Risks due to study procedures other than those due to the device. Study participation may mean additional procedures not due to the device. These are considered as part of study review (21 CFR 56.111). |  |  |  |  |  |  |
| 3. |  | Risks due to the clinical use of the alternative device, if any. These are the risks of the type of device as it would otherwise be used in clinical care to assess the differences. |  |  |  |  |  |  |
| 4. |  | Risks due to use of the device. These are the risks of the device in the context of this study. |  |  |  |  |  |  |
| 5. |  | Risks due to device design or re-design. This might include bio-compatibility, electrical risk, radiation exposure, sharp corners, etc. |  |  |  |  |  |  |
| E.3. Step 3 - The other Abbreviated IDE Requirements |  |  |  |  |  |  |  |  |
| The NSR decision is one of required elements of an abbreviated IDE. These are directly from regulation 21 CFR 812.2(b). Do you agree that: |  |  |  |  |  |  |  |  |
| 1 |  |  | Yes No |  | The device is not banned by the FDA. |  |  |  |
| 1(i) |  |  | Yes No |  | The device will be labeled in accordance with Sec. 812.5. |  |  |  |
| 1(ii) |  |  | Yes No |  | IRB approval will be maintained for the life of the study. (All proposed modifications to the device must be approved using the full board process!) |  |  |  |
| 1(iii) |  |  | Yes No |  | Each investigator will obtain informed consent under part 50 and will document it, unless documentation is waived by the IRB under Sec. 56.109(c). |  |  |  |
| 1(iv) |  |  | Yes No |  | The study will be monitored in accord with 812.46. |  |  |  |
| 1(v) |  |  | Yes No |  | Records will be maintained in accord with 812.140(b) (4) and (5) and the reports required under Sec. 812.150(b) (1) through (3) and (5) through (10) will be available. |  |  |  |
| 1(vi) |  |  | Yes No |  | Participating investigators will maintain the records required by 812.140(a)(3)(i) and make the reports required under 812.150(a) (1, 2, 5, and 7). |  |  |  |
| 1(vii) |  |  | Yes No |  | The prohibitions in Sec. 812.7 against promotion and other practices will be honored. |  |  |  |

| - Signature and Assertion |  |  |
| --- | --- | --- |
| Sign here only if there is no signature in section C or in D. - The above information is true to my knowledge and will be updated as necessary. - I am submitting this information on behalf of myself as the investigator the sponsor - I am aware that the IRB may, after discussion, determine that the device is NSR. FDA has been known to reach a different decision and ask that studies be stopped until an IDE is obtained. - I am aware that the IRB may, after discussion, determine that the device is a Significant Risk device in which case both sponsor and investigator will receive a written notice and will be required to obtain an IDE (or notice it is not needed) from the FDA before approval can be released. |  |  |
| Signature | Printed Name | Date |

EXEMPTIONS UNDER 812.2(c)

If an exemption was claimed in section D.2 select the claimed exemption below and be sure it is justified.

Exemption (1). A device, other than a transitional device, in commercial distribution immediately before May 28, 1976, (e.g., a predicate device) when used or investigated in accordance with the indications in labeling in effect at that time.

Exemption (2). A device, other than a transitional device, that has a 510K (i.e., introduced into commercial distribution on or after May 28, 1976 and FDA had determined to be substantially equivalent to a device in commercial distribution immediately before May 28, 1976) and that was used or investigated in accordance with the indications in the labeling FDA reviewed under Subpart E of Part 807 in determining substantial equivalence.

Exemption (3). Diagnostic Device.  All of the following are true:

The device is a diagnostic device. The device is noninvasive. (813(f)) The testing does not require an invasive (813(f)) sampling procedure that presents significant risk. The testing does not by design or intention introduce energy into a subject. The testing is not used as a diagnostic procedure without confirmation of the diagnosis by another, medically established diagnostic product or procedure.

Exemption (4)  Not safety or effectiveness.  All of the following are true:

The testing is not for determining safety or effectiveness and The testing does not put subjects at risk. The testing is for a medical device undergoing one of the following: Consumer preference testing Testing of a modification Testing of a combination of two or more medical devices in commercial distribution..

Exemption (5).   A device intended solely for veterinary use.

Exemption (6).   A device shipped solely for research on or with laboratory animals and labeled in accordance with Sec. 812.5(c).

Exemption (7).   Custom Device. All of the following are true:

It is NOT being used to determine safety or effectiveness for commercial distribution. It necessarily deviates from devices generally available or from an applicable performance standard or premarket approval requirement in order to comply with the order of an individual physician or dentist. It is not generally available to, or generally used by, other physicians or dentists. It is not generally available in finished form for purchase or for dispensing upon prescription. It is not offered for commercial distribution through labeling or advertising. It is intended for use by an individual patient named in the order of a physician or dentist One of the following is true: It is to be made in a specific form for that patient. It is intended to meet the special needs of the physician or dentist in the course of professional practice..